/*! @page usb_ai16_16 USB-AI16-16

These are samples for

[USB-AI](http://accesio.com/?p=../usb/usb-aio16-16a.html) series cards

that are used to take high speed analog voltage readings . The

operation of the cards can be thought of as two basic modes. One ,

which is demonstrated by the sample read_channels_test, is just a slow

looping function call to ADC_GetScan() and it returns a vector

of voltage readings. It is designed to be as simple as possible to

reason and to implement in code. Think of it as the low performance

multi-meter that can take voltage readings for you on 16 or more

channels.

The second type of sample demonstrates the high speed analog sample

capabilities of the

[USB-AI](http://accesio.com/?p=../usb/usb-aio16-16a.html)

series. These samples take some more programming sophistication but

they generate higher data rates streams of sampled data. If you are not

interested in trying out the high speed acquisiton without immediately

writing code, please try out one of the JSON configuration file

inspired samples. These samples allow you to easily acqurire data at the

fastest speeds you choose without having to write code. All you have

to do is modify one of the JSON configuration files and pass it to one

of the samples and you are done.

# Continuous mode

Running continuous mode across some samples

# Samples

# General samples

@subpage sample_usb_ai16_16_extcal External calibration sample

@subpage sample_usb_ai16_16_continuous_mode Continuous Mode Samples

@subpage sample_usb_ai16_16_continuous_mode_from_json_config Continuous Mode sample usng a JSON config file

@subpage sample_usb_ai16_16_burst_test Example of a quick continuous mode sample that sets up an AIOContinuousBuf buffer and then

proceeds to read data from it.

@subpage bulk_acquire_test Sample the demonstrates the older and unfortunately , less reliable Bulk Acquire API. This API has been effectively replaced by the continuous mode samples.

*/